Protocol 1:

1. Load and run NuPage gel with MOPS running buffer.

2. Use Invitrogen (life Technologies) SimplyBlue Safe Stain. No fixing required for this method. Destain with pure water.

# After staining,  please cut out bands using a new razor blade on a clean glass surface. Please minimize the non-stained areas by clipping them off. Cut the gel slice into 1 mm X 1 mm cubes.

# Place the gel pieces in 1.5 ml tubes and cover with water.

# Wash with water and bring the samples over for analysis.

Protocol 2:

1. Load and run NuPage gel with MOPS running buffer.

2. Fix for 60 min (or overnight) in MOPS Fix (50% Methanol, 7% Acetic Acid, 43%

Water).

3. Wash with ultrapure water to remove fixing solution.

4. Stain with GelCode Blue for 1 hr (enough to cover gel).

5. “Destain” with ultrapure water until background minimized (can leave O/N).

# After staining,  please cut out bands using a new razor blade on a clean glass surface. Please minimize the non-stained areas by clipping them off. Cut the gel slice into 1 mm X 1 mm cubes.

# Place the gel pieces in 1.5 ml tubes and cover with water.

# Wash with water and bring the samples over for analysis.

# Warning: Please wash the gel apparatus and all equipment used for this method with detergent and use gloves at all times to minimize protein contamination of the sample mostly human Keratin.